## Measurements test set
pullback | frame | FCT automatic | Lipid arc automatic | FCT model 3 2D | Lipid arc model 3 2D | FCT manual | Lipid arc manual | Difference FCT (manual segs) | Difference lipid arc (manual segs) | Difference FCT (model 3 2D) | Difference lipid arc (model 3 2D) | Observation
NLD-AMPH-0005 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-AMPH-0005 | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-AMPH-0005 | 80 | 61 | 100 | 50 | 82 | 50 | 92 | 11 | 8 | 0 | -10
NLD-AMPH-0005 | 120 | 110 | 90 | 134 | 76 | 60 | 99 | 50 | -9 | 74 | -23 | Weird manual measurement
NLD-AMPH-0005 | 160 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-AMPH-0005 | 200 | 132 | 234 | 132 | 268 | 110 | 249 | 22 | -15 | 22 | 19
NLD-AMPH-0005 | 240 | 255 | 106 | 514 | 28 | 290 | 59 | -35 | 47 | 224 | -31 | Check manual measure (maybe wrong)
NLD-AMPH-0005 | 268 | 240 | 148 | 403 | 124 | 340 | 143 | -100 | 5 | 63 | -19
NLD-AMPH-0005 | 280 | 144 | 216 | 152 | 192 | 170 | 165 | -26 | 51 | -18 | 27 | Weird manual measurement
NLD-AMPH-0005 | 320 | 102 | 238 | 112 | 236 | 60 | 236 | 42 | 2 | 52 | 0
NLD-AMPH-0005 | 360 | 134 | 130 | 142 | 112 | 70 | 119 | 64 | 11 | 72 | -7
NLD-AMPH-0005 | 400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-AMPH-0005 | 440 | 0 | 0 | 273 | 42 | 0 | 0 | 0 | 0 | 273 | 42
NLD-AMPH-0005 | 449 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-AMPH-0005 | 480 | 199 | 74 | 394 | 12 | 150 | 54 | 49 | 20 | 244 | -42
NLD-AMPH-0005 | 520 | 281 | 46 | 0 | 0 | 170 | 33 | 111 | 13 | -170 | -33
NLD-AMPH-0011 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-AMPH-0011 | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-AMPH-0011 | 192 | 45 | 150 | 86 | 140 | 60 | 143 | -15 | 7 | 26 | -3
NLD-AMPH-0011 | 200 | 67 | 122 | 64 | 138 | 70 | 120 | -3 | 2 | -6 | 18
NLD-AMPH-0011 | 240 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-AMPH-0011 | 280 | 536 | 88 | 440 | 66 | 720 | 62 | -184 | 26 | -280 | 4
NLD-AMPH-0051-LAD | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-AMPH-0051-LAD | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-AMPH-0051-LAD | 46 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-AMPH-0051-LAD | 80 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-AMPH-0051-LAD | 90 | 197 | 108 | 382 | 98 | 280 | 93 | -83 | 15 | 102 | 5
NLD-AMPH-0051-LAD | 120 | 0 | 0 | 485 | 52 | 0 | 0 | 0 | 0 | 485 | 52 | False Positive
NLD-AMPH-0051-LAD | 160 | 64 | 216 | 92 | 210 | 50 | 213 | 14 | 3 | 42 | -3
NLD-AMPH-0051-LAD | 185 | 60 | 190 | 91 | 182 | 50 | 197 | 10 | -7 | 41 | -15
NLD-AMPH-0051-LAD | 200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-AMPH-0051-LAD | 240 | 180 | 172 | 225 | 142 | 230 | 163.6 | -50 | 8.4 | -5 | -21.6
NLD-AMPH-0054 | 0 | 0 | 0 | 239 | 0 | 0 | 0 | 0 | 0 | 239 | 0
NLD-AMPH-0054 | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-AMPH-0054 | 80 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-AMPH-0054 | 120 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-AMPH-0054 | 168 | 0 | 0 | 430 | 52 | 0 | 0 | 0 | 0 | 430 | 52 | False Positive
NLD-AMPH-0054 | 200 | 548 | 66 | 608 | 70 | 570 | 68 | -22 | -2 | 38 | 2
NLD-AMPH-0054 | 240 | 340 | 126 | 212 | 132 | 200 | 119 | 140 | 7 | 12 | 13
NLD-AMPH-0054 | 244 | 375 | 158 | 345 | 166 | 320 | 162 | 55 | -4 | 25 | 4
NLD-AMPH-0054 | 246 | 410 | 126 | 278 | 138 | 330 | 140.6 | 80 | -14.6 | -52 | -2.6
NLD-AMPH-0054 | 248 | 205 | 154 | 252 | 140 | 210 | 140.7 | -5 | 13.3 | 42 | -0.7
NLD-AMPH-0054 | 249 | 198 | 130 | 182 | 104 | 150 | 123 | 48 | 7 | 32 | -19
NLD-AMPH-0054 | 280 | 345 | 160 | 354 | 114 | 290 | 161 | 55 | -1 | 64 | -47
NLD-HMC-0008 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-HMC-0008 | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-HMC-0008 | 80 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-HMC-0008 | 120 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-HMC-0008 | 160 | 67 | 108 | 67 | 122 | 80 | 92 | -13 | 16 | -13 | 30
NLD-ISALA-0057 | 80 | 30 | 130 | 50 | 124 | 30 | 128 | 0 | 2 | 20 | -4
NLD-ISALA-0057 | 120 | 70 | 104 | 45 | 104 | 60 | 101 | 10 | 3 | -15 | 3
NLD-ISALA-0057 | 160 | 192 | 96 | 415 | 64 | 300 | 91 | -108 | 5 | 115 | -27
NLD-ISALA-0057 | 200 | 443 | 72 | 326 | 60 | 370 | 54 | 73 | 18 | -44 | 6
NLD-ISALA-0057 | 240 | 158 | 104 | 184 | 118 | 170 | 106 | -12 | -2 | 14 | 12
NLD-ISALA-0057 | 280 | 10 | 98 | 71 | 88 | 60 | 88 | -50 | 10 | 11 | 0
NLD-ISALA-0057 | 320 | 189 | 76 | 163 | 72 | 110 | 75 | 79 | 1 | 53 | -3
NLD-ISALA-0057 | 360 | 337 | 78 | 140 | 116 | 90 | 122 | 247 | -44 | 50 | -6
NLD-ISALA-0057 | 400 | 0 | 0 | 310 | 64 | 0 | 0 | 0 | 0 | 310 | 64
NLD-ISALA-0057 | 440 | 477 | 120 | 354 | 130 | 370 | 120 | 107 | 0 | -16 | 10
NLD-ISALA-0057 | 480 | 376 | 130 | 400 | 128 | 370 | 124 | 6 | 6 | 30 | 4
NLD-ISALA-0057 | 520 | 262 | 114 | 411 | 110 | 350 | 122 | -88 | -8 | 61 | -12
NLD-ISALA-0062 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-ISALA-0062 | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-ISALA-0062 | 80 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-ISALA-0062 | 120 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-ISALA-0062 | 160 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-ISALA-0062 | 200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-ISALA-0062 | 240 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-ISALA-0062 | 280 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-ISALA-0062 | 320 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-ISALA-0062 | 360 | 149 | 90 | 200 | 82 | 160 | 83 | -11 | 7 | 40 | -1
NLD-ISALA-0062 | 377 | 98 | 110 | 187 | 114 | 130 | 99 | -32 | 11 | 57 | 15
NLD-ISALA-0062 | 385 | 160 | 126 | 190 | 124 | 150 | 121 | 10 | 5 | 40 | 3
NLD-ISALA-0062 | 400 | 89 | 178 | 120 | 172 | 120 | 205 | -31 | -27 | 0 | -33
NLD-ISALA-0062 | 440 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-ISALA-0062 | 480 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-ISALA-0062 | 520 | 122 | 98 | 157 | 86 | 150 | 98 | -28 | 0 | 7 | -12
NLD-ISALA-0065-LAD | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-ISALA-0065-LAD | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-ISALA-0065-LAD | 105 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-ISALA-0065-LAD | 143 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-ISALA-0065-LAD | 160 | 0 | 0 | 1139 | 8 | 0 | 0 | 0 | 0 | 1139 | 8 | False Positive (super tiny detected lipid)
NLD-ISALA-0065-LAD | 268 | 241 | 174 | 156 | 174 | 140 | 199 | 101 | -25 | 16 | -25
NLD-ISALA-0065-MO1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-ISALA-0065-MO1 | 80 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-ISALA-0065-MO1 | 120 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-ISALA-0065-MO1 | 160 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-ISALA-0065-MO1 | 200 | 0 | 0 | 269 | 30 | 0 | 0 | 0 | 0 | 269 | 30 | False Positive
NLD-ISALA-0065-MO1 | 240 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-ISALA-0065-MO1 | 280 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-ISALA-0065-MO1 | 320 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-ISALA-0065-MO1 | 352 | 218 | 192 | 184 | 196 | 200 | 210 | 18 | -18 | -16 | -14
NLD-ISALA-0065-MO1 | 360 | 134 | 204 | 140 | 188 | 110 | 195 | 24 | 9 | 30 | -7
NLD-ISALA-0065-MO1 | 400 | 172 | 188 | 170 | 190 | 160 | 195 | 12 | -7 | 10 | -5
NLD-ISALA-0065-MO1 | 440 | 156 | 206 | 170 | 188 | 160 | 203 | -4 | 3 | 10 | -15
NLD-ISALA-0065-MO1 | 480 | 250 | 128 | 250 | 120 | 210 | 123 | 40 | 5 | 40 | -3
NLD-ISALA-0073 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-ISALA-0073 | 27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-ISALA-0073 | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-ISALA-0073 | 80 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-ISALA-0073 | 200 | 0 | 0 | 314 | 56 | 0 | 0 | 0 | 0 | 314 | 56 | False Positive
NLD-ISALA-0087 | 40 | 0 | 0 | 90 | 42 | 0 | 0 | 0 | 0 | 90 | 42
NLD-ISALA-0087 | 80 | 108 | 90 | 22 | 30 | 160 | 103 | -52 | -13 | -138 | -73
NLD-ISALA-0087 | 120 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-ISALA-0087 | 160 | 189 | 96 | 264 | 96 | 140 | 98 | 49 | -2 | 124 | -2
NLD-ISALA-0087 | 200 | 202 | 188 | 219 | 168 | 150 | 147 | 52 | 41 | 69 | 21
NLD-ISALA-0087 | 240 | 112 | 162 | 158 | 152 | 110 | 83 | 2 | 79 | 48 | 69
NLD-ISALA-0087 | 280 | 168 | 148 | 246 | 104 | 200 | 149 | -32 | -1 | 46 | -45
NLD-ISALA-0087 | 339 | 121 | 236 | 135 | 254 | 60 | 230 | 61 | 6 | 75 | 24
NLD-ISALA-0087 | 400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-ISALA-0087 | 440 | 124 | 34 | 469 | 24 | 680 | 30 | -556 | 4 | -211 | -6
NLD-ISALA-0087 | 480 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-ISALA-0087 | 520 | 279 | 118 | 278 | 122 | 180 | 128 | 99 | -10 | 98 | -6
NLD-ISALA-0089 | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-ISALA-0089 | 80 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-ISALA-0089 | 120 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-ISALA-0089 | 160 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-ISALA-0089 | 200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-ISALA-0089 | 226 | 126 | 156 | 117 | 124 | 150 | 142 | -24 | 14 | -33 | -18
NLD-ISALA-0089 | 240 | 184 | 104 | 214 | 96 | 140 | 91 | 44 | 13 | 74 | 5
NLD-ISALA-0089 | 280 | 260 | 64 | 271 | 70 | 180 | 72 | 80 | -8 | 91 | -2
NLD-ISALA-0089 | 360 | 198 | 94 | 286 | 76 | 190 | 88 | 8 | 6 | 96 | -12
NLD-ISALA-0089 | 400 | 197 | 72 | 550 | 44 | 180 | 71 | 17 | 1 | 370 | -27
NLD-ISALA-0089 | 481 | 613 | 18 | 322 | 30 | 300 | 23 | 313 | -5 | 22 | 7
NLD-ISALA-0089 | 520 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-ISALA-0093 | 0 | 22 | 244 | 28 | 278 | 30 | 221.1 | -8 | 22.9 | -2 | 56.9
NLD-ISALA-0093 | 32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-ISALA-0093 | 40 | 149 | 54 | 0 | 0 | 170 | 48 | -21 | 6 | -170 | -48
NLD-ISALA-0093 | 80 | 10 | 208 | 50 | 222 | 60 | 218 | -50 | -10 | -10 | 4
NLD-ISALA-0093 | 112 | 50 | 360 | 92 | 360 | 110 | 360 | -60 | 0 | -18 | 0
NLD-ISALA-0093 | 120 | 135 | 302 | 0 | 270 | 110 | 233.5 | 25 | 68.5 | -110 | 36.5
NLD-ISALA-0093 | 160 | 78 | 106 | 94 | 100 | 110 | 114 | -32 | -8 | -16 | -14
NLD-ISALA-0093 | 200 | 122 | 134 | 63 | 138 | 80 | 139 | 42 | -5 | -17 | -1
NLD-ISALA-0093 | 240 | 170 | 98 | 71 | 114 | 110 | 102 | 60 | -4 | -39 | 12
NLD-ISALA-0093 | 280 | 133 | 214 | 80 | 206 | 80 | 200 | 53 | 14 | 0 | 6
NLD-ISALA-0093 | 360 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-ISALA-0093 | 400 | 175 | 86 | 112 | 78 | 150 | 89 | 25 | -3 | -38 | -11
NLD-ISALA-0093 | 440 | 128 | 96 | 0 | 0 | 110 | 82 | 18 | 14 | -110 | -82 | False Negative
NLD-ISALA-0093 | 520 | 0 | 56 | 0 | 0 | 0 | 0 | 0 | 56 | 0 | 0
NLD-ISALA-0097 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-ISALA-0097 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-ISALA-0097 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-ISALA-0097 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-ISALA-0097 | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-ISALA-0097 | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-ISALA-0097 | 60 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-ISALA-0097 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-ISALA-0097 | 80 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-ISALA-0097 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-ISALA-0097 | 120 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-ISALA-0097 | 160 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-ISALA-0097 | 200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-ISALA-0097 | 240 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-ISALA-0097 | 280 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-ISALA-0097 | 320 | 247 | 94 | 125 | 114 | 120 | 105 | 127 | -11 | 5 | 9
NLD-ISALA-0097 | 350 | 211 | 134 | 264 | 112 | 230 | 128 | -19 | 6 | 34 | -16
NLD-ISALA-0097 | 360 | 10 | 140 | 255 | 100 | 140 | 123 | -130 | 17 | 115 | -23
NLD-ISALA-0097 | 380 | 340 | 98 | 250 | 92 | 210 | 87 | 130 | 11 | 40 | 5
NLD-ISALA-0097 | 400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-ISALA-0097 | 440 | 461 | 64 | 362 | 60 | 380 | 59 | 81 | 5 | -18 | 1
NLD-ISALA-0097 | 460 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NLD-ISALA-0097 | 480 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Plots
Type | Pearson corr
FCT | 0.719
Lipid arc | 0.954